Power Generator RURIS Silent-Power DG20KVA

| Engine | General Engine |
| --- | --- |
| Operating cycle | 4 stroke |
| Cylinder number | 2 in “V” |
| Maximum engine power | 27 HP |
| Engine displacement | 1326 cc |
| Power factor | 0.8 |
| Ignition system | Electronic |
| Starting system | Electric with battery |
| Fuel type | Diesel |
| Fuel tank capacity | 30 l |
| Engine oil capacity | 4 l |
| Average fuel consumption | ≤ 240 (g/kW/h) |
| Maximum generator power | 18KW/22.5KVA |
| Rated generator power | 16KW/20KVA |
| Engine speed | 3000rpm |
| Operating frequency | 50 Hz |
| Rated current | 28.9 A |
| Number of sockets | 2 |
| Stator and rotor winding | Copper |
| DC output voltage | 12V |
| AC output voltage | 3 phase- 230/400 V |
| ATS | YES |
| AVR | YES |
| Fuse protection | Standard equipment |
| Frame type | Industrial |
| Transport wheels | YES |
| Net weight | 350 kg |
| Gross weight | 370 kg |
| Dimensions | 130*80*87cm |